“FCL e-book”: Table of Contents.                                     V3.3

0. Introduction

1. Pre-requisites for Full Closed Loop

1.1  Well tuned hybrid closed loop

1.2  Fast insulin

1.3  Reliable insulin delivery from pump and cannula

1.4  Excellent CGM

1.5  Meal-related limitations?

1.6  Lifestyle-related limitations?

1.7  Time required for setting-up

Case study 1.1: Occlusion

Case study 1.2: Comparing insulins for FCL

Case study 1.3: Jumpy CGM

Case study 1.4: Lost pump connection

Case study 1.5: Permanent CGM values w/ 2x G6

Case study 1.6: When catastrophy strikes

Case study 1.7: MDI when the loop dies…

Case study 1.8: (placeholder for a Libre3 / 1.-minute case)…

…

2. General Settings for Full Closed Loop

2.1  SMB range extension

2.2  Max and min autoISF ratio

2.3  SMB delivery ratio

2.4  iobTH (iob_threshold_percent)

2.5	 Eating Soon TT?

2.6  General settings in AAPS/Preferences

3. Description of autoISF / guidance by developers

3.1  Overview

3.2  ISF modulation flowcharts

3.3  Exercise mode and dynamic iobTH

3.4  Automation options with autoISF parameters

3.5  Activity monitor

3.6 Using one-minute CGM (Libre 3)

3.7 AutoISF parameters overview table

3.8  Emulator for logfile analysis and tuning

3.9 Links to related case studies/detailed doc.s

4.  Meals: Setting ISF_weights in AAPS/Preferences

4.1  Getting started

4.2  bgAccel_ISF_weight

4.3  pp_ISF_weight

4.4  bgBrake_ISF_weight

4.5  dura_ISF and bg_ISF

4.6  Tuning your initial settings

4.7  Complex scenarios

4.8  Profile helper

Case study 4.1: Pizza

Case study 4.2: Low carb meals

Case study 4.3: Hands-off FCL around Christmas

5.  Temp. modulation of autoISF aggressiveness

5.1  Automatic modulation of loop aggressiveness

5.1.1 autoISF off outside of meal windows

5.1.2 SMB off @ odd profile target

5.1.3 SMB off @ odd temp. target

5.1.4 Automatic diff. of FCL aggressiveness via Automations

5.1.5 Automatic diff. of FCL aggressiveness via Activity Monitor

5.1.6 Diff. of aggressiveness using “Automation State”

5.1.7 Pro/con completely hands-off FCL

5.2  Manual modulation of FCL aggressiveness via DIY cockpit

5.2.1 Status recognition

5.2.2 Manual interventions from DIY cockpit

5.2.2.1  Temp. %profile or TT settings

5.2.2.2  Temp. settings in /preferences

5.2.2.3  Grey DIY cockpit buttons for pre-programmed FCL responses

5.2.3 Temporary exit from FCL

5.3  Recognizing loop state from the AAPS home screen

5.3.1  Modulated loop aggressiveness (3 top buttons)

5.3.2  Color scheme of the top 3 buttons

5.3.3  Active Automations

5.3.4  FCL related indicator fields

5.3.5  Overall AAPS home screen

5.3.6  Extra graphs for autoISF

5.3.7  Info given every 5 minutes in the SMB tab

5.3.8  Info about last 15 autoISF decisions

5.3.9. SMB tab info when operating 1-minute Libre

Summary: Your personal FCL cockpit

Case study 5.2: Sweet snacks / Glühwein w/ DIY cockpit

Case study 5.3: Compression low

6.  Temp. modulation for exercise and light (In-)activity

6.1  Dynamic iobTH and sensitivity ratio

6.1.1 Manual (direct) iobTH modulation

6.1.2 Automations for iobTH modulation

6.1.3 Dynamic iobTH

6.2  Temp. % profile switch

6.3  DIY cockpit based on User action Automations

Skip what is in green writing:                                                       = Drafted fragments or                             not implemented ideas.

(Might be weeded out soon, many things not really needed)

6.4  Improved FCL cockpit

6.4.1 Manual (direct) iobTH modulation

6.4.2 pre-set 4 kinds of exercise

6.4.3 optional meal pre-sets

6.4.4 optional hypo management pre-sets

6.5 Mastering the exercise after meal challenge

6.5.1 Manual mode

6.5.2 DIY cockpit button for User action Automation

6.5.3 Using pre-sets in improved FCL cockpit

6.6  Activity monitor based on step-counter

Case study 6.2 Biking day with hi carb lunch; DIY cockpit

7. Advanced HCL (meal announcement via pre-bolus)

7.1  Hurdles for FCL

7.2  Getting ready to advance from HCL

7.3  Reduced pre-bolus

7.4  Tuning autoISF in HCL

7.5   Dealing with disturbances/ins. sens/resistance

7.6   Exercise management

7.7   Remote control (small children) (fragment, to be completed /NN)

7.8   Other methods w/ meal announcement (MA)

Case study 7.1: Meal Announcement (5y old)

8. Performance monitoring and tuning

Case study 8.2: Futility of tuning based on 1 extreme meal

9. Trouble shooting

Case study 9.1: Un-intended loss of loop aggressiveness

10. Emulator on PC to determine settings

10.1  Installing the Emulator on your PC

10.2  Analyzing loop decisions in logfiles

10.3  What-if analysis

11. Emulator on the smartphone

11.1  Installing the emulator on your smartphone

11.2  Checking loop decisions on the smartphone

11.3  Options available on i-Phone (for Trio or iAPS)

11.4  Real-time checking a „what-if“ question  using speech synthesis

12. Remarks for users of previous autoISF version

13. Other avenues to Full Closed Loop

13.1 FCL using AAPS Master and Automations

Case study 13.1: Comparison: 1 month FCL, using Automation vs autoISF

13.2  dynamicISF used for Full Closed Loop

Case study 13.2: Using dynISF for FCL (sorry, nobody provided interpretable data yet)

13.3   Methods involving simple meal announcement that might be stretched into a FCL

13.3.1  Boost

Case study 13.3: Boost-based FCL for a child

13.3.2  AIMI,

13.3.3  EatingNow

13.3.4  Tsunami

13.4  No-bolus looping with precise carb inputs

13.5  Machine Learning (AI)

13.6 Dual hormone systems

13.7 Co-Medications that might facilitate FCL