Ultra-brief autoISF summary (from Synthesis of two sources = FCL/autoISF GitHub (“e-Book” Bernie) + Quick Guide (ga-zelle), plus how experienced loopers actually use them), giving numeric ranges (general, not personalised)

(Remark by Bernie: This ChatGPT summary is not reviewed/endorsed by the original authors. Do not attempt to start using autoISF with just this background. Do not use these numeric suggestions. Several seem dangerously high **).     Plus, I do not know why important safety measures (iobTH, odd TT SMB-off) are not mentioned at all below…).

**) Exact effect of ISF_weights: See FCL e-Book sections 4.2.4, 4.3.2, 4.5.5 and 4.5.7, and the xls sheet available in section 04.                                                                           acce    pp     dura          bg

autoISF dynamically adjusts ISF based on glucose level and trends (rise, duration high, etc.) �

GitHub

It applies separate factors (BG, acceleration, post-meal, duration) that combine into a final ISF

Each factor can be tuned independently

It behaves like standard AAPS by default and is intended as an advanced optimisation tool (not a fix for poor base settings) �

GitHub

Best used when control is already good and aiming toward tighter or FCL-style control

👉 In one line:

autoISF = adaptive multiplier on ISF driven by BG level + trend + context

- General starting ranges (clean reference)

These are generic bands you can use as a quick lookup.

🟢 Starter (very safe)

Plain text

Bg_ISF_weight     0.2 – 0.5

Acce_ISF_weight   0.1 – 0.4

Pp_ISF_weight     0.1 – 0.4

Dura_ISF_weight   0.1 – 0.3

Max_ISF_factor    1.2 – 1.5

Min_ISF_factor    0.9 – 1.0

Use: first setup / noisy CGM

Behaviour: slow, stable, minimal risk

🔵 Mild / Balanced

Plain text

Bg_ISF_weight     0.4 – 0.8

Acce_ISF_weight   0.3 – 0.6

Pp_ISF_weight     0.3 – 0.7

Dura_ISF_weight   0.2 – 0.4

Max_ISF_factor    1.5 – 1.9

Min_ISF_factor    0.8 – 0.95

Use: most users

Behaviour: improved post-meal + moderate corrections

🟠 Moderate

Plain text

Bg_ISF_weight     0.7 – 1.1

Acce_ISF_weight   0.5 – 0.9

Pp_ISF_weight     0.5 – 0.9

Dura_ISF_weight   0.3 – 0.6

Max_ISF_factor    1.9 – 2.3

Min_ISF_factor    0.7 – 0.9

Use: good baseline + fast insulin

Behaviour: strong corrections, tighter control

🔴 Strong / FCL-style

Plain text

Bg_ISF_weight     1.0 – 1.4

Acce_ISF_weight   0.8 – 1.3

Pp_ISF_weight     0.8 – 1.3

Dura_ISF_weight   0.4 – 0.8

Max_ISF_factor    2.3 – 3.0

Min_ISF_factor    0.6 – 0.85

Use: advanced users only

Behaviour: highly aggressive, highest variability risk

- One-line guidance per parameter

Bg_ISF → baseline aggressiveness (most important)

Acce_ISF → reacts to rate of change (spikes)

Pp_ISF → meal handling

Dura_ISF → stubborn highs (late effect, most risky)

Max_ISF_factor → hard ceiling (safety limit)

- Key rule (from both sources + practice)

👉 Tune in this order:

Plain text

1. bg_ISF

2. pp_ISF

3. acce_ISF

4. dura_ISF

5) Simplest takeaway

Start mild

Increase bg first

Add pp for meals

Add acce only if needed

Keep dura lowest unless required

If you want, I can compress this further into a single-screen cheat sheet you can keep next to your AAPS settings.